## Slide 1
Presentation on
Multimeter, Oscilloscope and Signal Generator
Presented by: Leon Hossen
ID:12012032
Department of Physics,
Begum Rokeya University, Rangpur
Date: April 17,2025

## Slide 2
MULTIMETER
Multimeter: A multimeter is a measuring instrument that can measure multiple electrical properties. A typical multimeter can measure voltage, resistance and current, in which can be used as a voltmeter, ohmmeter and ammeter.
Types of multimeter:
Analog Multimeter
Digital Multimeter

## Slide 3
Functions of a Multimeter:
Measuring voltage (AC/DC)
Measuring current (AC/DC)
Measuring resistance
Continuity test
Diode testing (in some models)
Some multimeter can measure capacitance, temperature and frequency
How to Use a Multimeter:
Set the correct mode (voltage , current etc.)
Connect probes correctly
Read the value from the display

## Slide 4
Circuit of a Multimeter:

## Slide 5
Advantage of Digital Multimeter:
High accuracy
Easy to read display
Multiple functions in one device
Portable and affordable
Conclusion:
Multimeter is a versatile and essential tool
Helps in diagnosing and fixing electrical problems
Simple to use in powerful function
Applications of Multimeter:
Electronics repairing
Circuit testing
Household electrical maintenance
Education and experiments

## Slide 6
Oscilloscope
Oscilloscope: An oscilloscope is an electronic test instrument that displays the waveform of electrical signals. It shows how voltage varies with time.
Types of Oscilloscopes:
Analog Oscilloscope
Digital Oscilloscope

## Slide 7
Main Parts of an Oscilloscope:
Display screen
Time/Div knob
Volt/Div knob
Trigger control
Input channels and probes
How an Oscilloscope Works:
Converts voltage signals into visual waveforms
X-axis represents time
Y-axis represents voltage
Can measure frequency, amplitude, rise time etc.

## Slide 8
Block Diagram of an Oscilloscope:

## Slide 9
Applications of Oscilloscopes:
Observing waveforms in circuits
Measuring signal properties
Debugging electronic devices
Testing audio signals
Used in medical fields(like ECG)
Conclusion:
Oscilloscopes are powerful diagnostic tools
Help visualize electrical signals
Essentials for designing, testing and troubleshooting electronic circuits
Essentials for engineers, technicians and students

## Slide 10
Signal Generator
Signal Generator: A signal generator is an electronic device that produces repeating or non-repeating electronic signals in either the analog or digital domain.
Types of Signal Generator:
Function generator
RF signal generator
Audio signal generator
Pulse generator etc.

## Slide 11
Main Components of Signal Generator:
Frequency control
Amplitude control
Waveform selector
Output terminology
Block Diagram of a Signal Generator:

## Slide 12
How a Signal Generator Work:
Generates signals using internal oscillators
User selects frequency, amplitude and waveform
Signal is sent to an external circuit or device
Applications of Signal Generators:
Testing and designing circuit
Troubleshooting amplifiers or receivers
Education and experiments
Medical devices(like ultrasound)
Conclusion:
Signal generators are essentials for testing and simulation
Versatile and valuable tools in electronics lab
Widely used in industries and education

## Slide 14
Thank you for your time and attention!!!